## Slide 1: Implementation and Evaluation of a Software Defined Radio Based Radiometer
Matthew E. Nelson
Iowa State University
Electrical and Computer Engineering

## Slide 2: Acknowledgements
POS Committee
Dr. Phillip Jones, Dr. Brian Hornbuckle, Dr. John Basart
Additional Support
Dr. Mani Mina
Special Thanks
My wife Jennifer and my family for their support

## Slide 3: Table of Contents
Introduction
Related Works
Background
Radiometer and SDR Basics
Implementation of a SDR-based Radiometer
Experimental Setup and Results
Example Usage Scenario
Closing

## Slide 4: Introduction
Presentation goals
Development of a SDR-Based Radiometer
Evaluation of a SDR-Based Radiometer
Benefits of a SDR-Based Radiometer
This thesis looks to explore the following questions:
Can we use a SDR to recreate a radiometer in software?
If so, is the performance similar to a traditional radiometer?
Can we create a low cost SDR Radiometer that is effective?
What benefits do we obtain by using a SDR Radiometer?
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Notes: We will look at how we implemented a SDR-Based Radiometer
We will examine how a SDR-Based Radiometer compares to a traditional radiometer through experimental results
Finally, we will examine benefits of using a SDR-Based Radiometer over a traditional radiometer
By performance, I mean is the sensitivity and stability of a SDR-Based Radiometer comparable to a traditional radiometer

## Slide 5: About the thesis
Motivation:
To expand the usage of radiometers
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Soil Moisture and Ocean Salinity (SMOS) satellite
Image courtesy of ESA
NRAO VLA
Image courtesy of NRAO/AUI
Notes: Motivation:
Radiometers are used in a number of applications including: Soil Moisture and Ocean Salinity.
The Soil Moisture and Ocean Salinity (SMOS) satellite was launched in November 2009 by the European Space Agency (ESA). It measures both soil moisture and ocean salinity using a radiometer at 1.4 GHz using a Microwave Imaging Radiometer with Aperture Synthesis (MIRAS). It uses both Vertical and Horizontal polarization.
Radio Astronomy is another application of radiometers such as the National Radio Astronomy Observatory located in New Mexico. Radio Astronomy can give us information about a variety of celestial objects.
In both cases though, radiometers are typically large and expensive due highly specialized equipment needed. A key point of our research is to used COTS hardware to help reduce the cost and make radiometers more accessible to a broader research communities.
The VLA there uses cryogenics to keep the RXs cool. The signal is digitized and sent via fiber optics to a super computer to process the data.

## Slide 6: About the thesis
What is a radiometer?
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
A radio receiver that measures the average power of the noise coming in within a certain range of frequencies (i.e. bandwidth).

## Slide 7: Related Works
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Digital Radiometers
Radio Frequency Interference (RFI) Mitigation
Kurtosis
Polarization Signature
Detection
Mitigation
Mechanical Filters
Hybrid
A mix of analog and digital components
Often digitizes after power detection
Direct Sampling
Samples directly at the frequency of interest
Uses digital signal processing to extract power information
Notes: Three areas of related works – Digital Radiometers, RFI and SDR-based Radiometers.
Protected band – 1400 – 1425 MHz
Digital Radiometers are radiometers that digitize some or all of the incoming signal. A Hybrid radiometer is one that has a mix of analog and digital components and is the common today. However, the digitization is often after power detection and the RF section is often left as an analog system.
A direct Sampling radiometer is very close to a Software Defined Radio. It will directly sample the incoming RF signal. However, it usually does at a sampling rate that does not allow for recreation of the signal, but does allow for the extraction of power information.
RFI Mitigation is an important area of research. Today, there are more RF sources then ever before. Despite the efforts of the international community to protect certain frequencies, interference is still possible and does happen. SMOS for example was plagued with radio interference emanating from Spain.
Because most radiometers do not retain frequency information, detection of interference is done by statistical and probability analysis. The Kurtosis method examines the probability distribution of the total power measurements to determine if the data is skewed which would indicate a an offending signal. Polarization signature examines the difference between the two polarizations of the radiometer. An interfering signal is often a polarized signal and we can see the difference by looking at the difference between the two polarizations.
Mitigation is often done by mechanical filters. These filters are either fixed if the signal is known ahead of time, however there some mechanical filters that can be changed during operation.

## Slide 8: Related Works
Software Defined Radio Based Radiometers
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Shirleys Bay Radio Astronomy Consortium
Grand Valley State University
Notes: Marcus is the Principal Investigator at SBRAC and also a contributor to the radiometer branch in GNURadio. SBRAC has successfully used this configuration to obtain radio astronomy data by looking at the hydrogen line at 1420.4058 MHz.
In 2013, the University of Illinois and Grand Valley State University built a software defined radio based radiometer to listen to emissions from Jupiter. The students reported that their SDR based radiometer worked well at a low price point.
One aspect that differentiates the work in the thesis from Grand Valley State University’s work is that they build their own custom hardware for their software defined radio, while in this work off the shelf components were used with an aim of making radiometers more wildly accessible to the research community.
COTS for us was chosen so that radiometers could be used by more people.

## Slide 9: Related Works
Contributions
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Development of a software defined radio-based radiometer
Python based scripts for analyzing data generated by the radiometer
A Radio Frequency Interference (RFI) mitigation technique implemented using software defined radio technology
Notes: For our research we have developed a total power radiometer in software. This includes power detection, data smoothing and additional filtering.
Next we generated Python scripts that is able to read the data from our SDR-Based Radiometer and process this information. All graphs used in the thesis and this presentation from our experimental data was processed by these scripts.
Finally we developed a filtering method to filter an offending signal to mitigate RFI affecting our SDR-based Radiometer

## Slide 10: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
There are six stages common to all radiometers:
Source
Bandwidth
Amplification
Power detection
Data smoothing
Output
Notes: A radiometer is a device designed to measure thermal electromagnetic emission by a material media. This electromagnetic emission is the thermal noise of the object and can be correlated to the physical temperature of the object.
An ideal radiometer would only measure this noise temperature. However, a real radiometer has additional noise added.
The protected L-band frequencies are 1400 – 1425 MHz

## Slide 11: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
System Noise
Every device adds noise, even passive devices
The higher the system noise, the lower the sensitivity
The system noise masks the noise of our target
Notes: Every device adds noise. The amount is related to the physical temperature of the device (hence why cryogenics is used)
Our noise of interest is often very close to our noise floor anyway, If the system noise is too high, it can over power our noise of interest.
System noise is bad…m’kay

## Slide 12: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Power measurement
The key to the performance of a radiometer is to minimize noise generated internally while amplifying the noise generated from the source.
All components generate additional noise
Low Noise Amplifiers (LNAs) are the largest contributors

## Slide 13: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Radiometer Stability
Control Stability by maintaining physical temperature
Compensate for instability
Dicke Radiometer
Correlating Radiometer
Notes: Dicke Radiometer - The total-power receiver is switched between two feeds, one pointing at the source and one displaced by a few beamwidths to avoid the source but measure emission from nearly the same sample of atmosphere. The output of the total-power receiver is multiplied by +1 when the receiver is connected to the on-source feed and by−1 when it is connected to the reference feed. Fluctuations in atmospheric emission and in receiver gain are effectively suppressed for frequencies below the switching rate, which is typically in the range 10 to 1000 Hz.
Gain Fluctuations happen over large periods of time (i.e. > 1 sec) so we can compensate with Dicke or correlating radiometer

## Slide 14: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
A software defined radio is a device that digitizes a received RF signal as soon as possible, and processes the digital representation of the signal using digital signal processing

## Slide 15: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Hardware Platform
Dual 14-bit ADC
25 MHz bandwidth per channel
Modular daughter-board system
Notes: Our HW platform is the Ettus Research N200 SDR. This SDR provides us the hardware to digitize an incoming RF signal and process it. It features a 14-bit ADC, 25 MHz BW and a modular daughter-board system. This daughter board system allows us to easily change frequency ranges when needed. It allows up to 2 daughterboards to be plugged in.

## Slide 16: SDR and Radiometer Basics
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
GNURadio and GNURadio Companion
GNURadio
Open Source
Excellent hardware support
GNURadio Companion
Drag and Drop
Rapid GUI development
Fast and Flexible
Easy to expand
Python/C++
Notes: For software we used GNURadio which also has a companion software called GRC.

## Slide 17: SDR-Based Radiometer Implementation
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Implementation of a Software Defined Radio Based Radiometer
Hardware Requirements
Software Requirements
Bandwidth 20 MHz
1400 - 1420 MHz
𝑁𝐸Δ𝑇=1 𝐾
Easy to use GUI interface for technician to use
Easy to modify
Hardware Requirements
Software Requirements
Easy to use GUI interface for technician to use
Easy to modify
Notes: NEAT is really determined more by the LNAs than the N200
The NEAT was determined by Brian Hornbuckle. However as a comparison the SMOS satellite has a sensitivity of 0.8 to 2.2 Kelvin
What is the BW of the N200?

## Slide 18: SDR-Based Radiometer Implementation
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Mapping traditional radiometer to SDR-Based Radiometer – Power Detection
Analog
SDR
  Square the magnitudes
Diode operating in the Square-Law region
Notes: We begin by looking at power detection. In a traditional radiometer this is done with a diode operating in the square-law region. This results in voltage output that is the square of the voltage in of the signal. To accomplish this in a SDR, we need to remember that a SDR radio takes an incoming signal and measures the magnitude of the signal. This is the in-phase signal generated by the SDR or referred to as I. It then shifts the phase of the signal 90 degrees. This is the quadrature-phase of the signal and is measured by the SDR. Both I and Q is the magnitude of the signal, but Q is shifted by 90 degrees. We can then measure the power by squaring both I and Q and summing them. Just like the square-law detector squares the incoming signal.

## Slide 19: SDR-Based Radiometer Implementation
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Mapping traditional radiometer to SDR-Based Radiometer – Data Smoothing
Analog
SDR
  Infinite Impulse Response Filter
Integrator a.k.a. Low Pass Filter
Notes: IIR filter
Decimation to reduce data size

## Slide 20: SDR-Based Radiometer Implementation
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
SDR-Based Radiometer Graphical User Interface
Hardware Control
Data Display
Center Frequency
Bandwidth
Integration time
Raw total power
Calibrated noise temperature
Spectrum
Filtering
Notes: Here we can see the GUI. Talk about the GUI
Next we will examine the experimental data collected from our SDR-Based Radiometer

## Slide 21: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 1 – SDR-Based Radiometer Verification and Calibration
Setup
N200 SDR
ADL5902 - Square-law detector
Power Divider
Traditional Radiometer RF Front End
Matched Load
Data Collection
GNURadio
Labview with ADC
Notes: Experiment 1 was conducted to verify that we are able to calibrate our SDR-Based Radiometer. It will also show that our SDR-Based Radiometer has the same type of operation as a traditional radiometer.

## Slide 22: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 1 – SDR-Based Radiometer Verification and Calibration
Results
Successfully calibrated both the square-law detector and the SDR-Based Radiometer. The square-law and SDR-Based Radiometer agree within 1.5 Kelvin
Square-law Detector
SDR-Based Radiometer
Square-law and SDR-Based Radiometer
Notes: This experiment was designed to verify that the SDR

## Slide 23: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 2 – Sensitivity and Stability
Setup
Identical Setup to Experiment 1
Notes: The block shown is the TPR block we used in GNURadio. This combines the total power measurement and integration and low-pass filter into one block that we can call in other programs.

## Slide 24: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 2 – Sensitivity and Stability
Results
SDR-Based Radiometer met expected sensitivity and stability performance metrics
Sensitivity
Expected - .1 Kelvin
Measured - .23 Kelvin
Stability
Expected - +/- .5 Kelvin
Measured ~ +/- .15 Kelvin
Notes: This experiment was designed to verify that the SDR-Based Radiometer had similar performance to a traditional radiometer
Factors not considered in our NEAT is additional noise from the SDR such as from the PGA and Mixer, and quantization noise from the A/D. Finally, while we assumed a stable radiometer it is possible some fluctuations in temperature still occurred.

## Slide 25: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 3 – Interfering Signal Mitigation
Setup
Identical to Experiment 1 except an interfering signal is injected
Notes: The block shown is the TPR block we used in GNURadio. This combines the total power measurement and integration and low-pass filter into one block that we can call in other programs.

## Slide 26: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 3 – Interfering Signal Mitigation
Results
SDR-Based Radiometer was able to successfully mitigate the interfering signal
Offending signal filtered
Total power measurements made
SDR-Based Radiometer
Analog Square-Law
Interfering signal identified
Notes: This experiment was designed to verify that the SDR

## Slide 27: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 4 – Performance impact of interfering signal mitigation
Setup
Identical to Experiment 3
Notes: The block shown is the TPR block we used in GNURadio. This combines the total power measurement and integration and low-pass filter into one block that we can call in other programs.

## Slide 28: Experimental Results
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Experiment 4 – Interfering Signal Mitigation
Results
SDR-Based Radiometer was able to successfully mitigate the interfering signal
Total Power output vs bandwidth of signal
𝑁𝐸Δ𝑇 𝑣𝑠 𝐵𝑎𝑛𝑑𝑤𝑖𝑑𝑡ℎ (𝛽)
Total Power output vs bandwidth of signal
Notes: The impact of filtering the signal can be seen here. We looked at both calculated and experimental results. The Std. Deviation was calculated over a period of 10 seconds.
We can also see the total power output from the radiometer as we reduce the bandwidth. As expected as the bandwidth decreases the total power decreases.

## Slide 29: Example Usage Scenario
Application Scenario: Soil Moisture reading with interfering signal
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
A radiometer is deployed in a field to take soil moisture readings
Data is recorded with the SDR-based radiometer. Both total power and the I and Q data is saved
After the experiment, the data is examined. The data is inconsistent and indicates a problem. Further analysis is needed

## Slide 30: Example Usage Scenario
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
A filter is designed in GNURadio to notch out the offending signal
The I/Q data is played back and examined on the spectrum analyzer window of our program. An interfering signal can clearly be seen at 1.406 GHz

## Slide 31: Example Usage Scenario
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
The experiment is played back through GNURadio but with the filter turned on
The data needs to be re-calibrated since we have lost some bandwidth to the filter
New total power measurements are then made resulting in the correct data obtained
Notes: The filter we have is not perfect and so we do have some minor fluctuations. This fluctuation is small however and is measured to be 2 Kelvin.

## Slide 32: Closing
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
In Closing
A SDR-Based Radiometer using off the shelf components is able to perform comparable to a traditional radiometer
  Within 2 Kelvin agreement
  Within .13 Kelvin in expected sensitivity
Additional functionality can be added in software to add features
  RFI Mitigation

## Slide 33: Closing
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Thank you

## Slide 34: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Cost and Weight Table
Device | Cost | Weight
N200 | $1,515 | 1.2 kg
DBSRX2 Daughterboard | $152 | .1 kg
LNAs | ~$200 | .09 kg
GNURadio | $0 | 0 kg
Total | $1,867 | 1.39 kg
ISU Radiometer | ~ $10,000 | 22.7 kg
Spectracyber | $2,650 | 6 kg

## Slide 35: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Filter Fluctuations

## Slide 36: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Difference between X2 and SDR
In LN2 ~ .8 Kelvin. | In Ice, ~ 1.5 Kelvin

## Slide 37: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
GUI Interface Full

## Slide 38: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
TPR Blocks in GNURadio
Power Detection
Integration
Low Pass Filter

## Slide 39: Extra Slides
Introduction
Related Works
Background
Implementation
Experimental Results
Example Usage Scenario
Closing
Soil Moisture Application

## Slide 40: IIR as an integrator implementation
It can be seen that an IIR filter can have the same frequency response as we would expect from an analog RC filter. As our sampling rate approaches infinity, the approximation gets closer to the original response from the analog RC circuit.
Introduction
Related Works
General Radiometer Theory
Software Defined Radio Theory
Experimental Results
Closing